## Sheet1
Date :
Work Order No:
Equipment No.:
Delivery Date
Specifications
Equipment : | Capacity : Ltr | Model :
MOC – | Inner Body : | Outer Body :
Dimension in MM (W x D x H) | Inside : | Outer Size :
Temp Range : | Accuracy : | Uniformity :
Controller System : PLC "AB/ PLC Delta/ Digital Controller System/ Microprocessor based PID Controller | HMI : 4.3"AB 4.3"Delta 7"AB 7"Delta Any Other/NA
Other Accessories
GSM System : Yes /No | Scanner: | Software:
Door Access System : Password Protected Door Access System/ Biometic Door Accesss System/NA | Hooter System : Yes (4 Chamber Connectivity) Yes (8 Chamber Conncetivity) NA Any Other
Castor Wheels: Yes/No | Pipe Length (m) : _Meter/NA | Packaging : Normal/Wooden/Any other
FAT : Yes/No/Depends
Standby System
Refrigeration System : Yes/No/NA | S.G. System : Yes/No/NA | Sensor : Yes/NA
Tray & Rack
Tray Qty. : _ Nos | Tray Type: Perforated | Tray MOC:
Rack Qty. : _ Nos/NA | Tray Dimension in MM (W x D x H) :
Documentation
· Protocol for DQ, IQ, and OQ, PQ Documents will be provided.
· Calibration will be performed for 1 hour.
· Validation will be performed for 24/48/72 hours with load and 24/48/72 hours without load at one set point with one compressor will be carried out.
· Any extra Validation would be charged extra per day.
· Calibration and Validation will be carried out with 8/9/10/Option probes for temperature.
· PLC Based System validation will be carried out.
· Training and handover of documents.
Special Instruction
·
·
..
Payment Terms
· _% advance, _% against PI & _% after receiving material at site..